# Dealer Battery Storage, Handling & Installation Instructions

Instruction Manual for Dealers, Installers & Service Personnel

## 1. Charging Requirements

Use only a compatible lithium battery charger.

Recommended charging voltage: 14.4V ±0.2V.

Never reverse polarity during charging.

Never charge the battery below 0°C (32°F).

Do not exceed the specified maximum charging current.

Avoid prolonged overcharging.

## 2. Operating Environment

Recommended discharge operating range: -20°C to 60°C.

Above 45°C, ensure proper ventilation and heat dissipation.

Recommended charging range: 0°C to 55°C.

Recommended humidity: ≤85% RH.

Avoid condensation and excessive moisture.

## 3. Storage Requirements

Recommended storage temperature: 15°C–25°C.

Acceptable storage range: -20°C to 60°C.

Store batteries in a dry, clean, and well-ventilated area.

Keep away from water, heat sources, fire, corrosive materials, and flammable materials.

Recharge batteries every 2 months during long-term storage.

For Bluetooth/communication models, monthly maintenance charging is recommended.

Maintain storage voltage between 13.28V–13.60V.

## 4. Installation Precautions

Verify correct positive (+) and negative (-) polarity before connection.

Ensure all terminals are tightened properly.

Do not exceed specified terminal torque.

Keep installation area free from metal debris, dust, and conductive materials.

Do not install in locations exposed to water immersion.

Use insulated tools during installation.

## 5. Safety Warnings

Do not short-circuit terminals.

Do not reverse charge or reverse polarity.

Do not immerse battery in water.

Do not open or disassemble battery pack.

Do not weld directly on battery terminals.

Do not pierce battery with sharp objects.

Do not drop, crush, or impact battery packs.

Do not use battery near strong static electricity or magnetic fields.

Do not overload beyond specified current limits.

## 6. Inspection Before Use

Inspect packaging for shipping damage.

Verify terminals and casing are intact.

Check for leakage, cracks, swelling, or loose terminals.

Confirm voltage is within normal operating range.

Clean dirty or corroded terminals with a dry cloth only.

## 7. Maintenance Recommendations

Recharge low batteries promptly.

Avoid deep discharge and prolonged low-voltage storage.

Shallow cycling is recommended to maximize cycle life.

Do not use organic solvents to clean the battery casing.

Remove battery from service immediately if abnormal conditions occur, including excessive heat, smoke, odor, swelling, discoloration, or leakage.

## 8. Fire & Emergency Handling

If battery fire occurs, use dry powder extinguisher or sand.

If electrolyte contacts eyes or skin, flush immediately with clean water and seek medical attention.

## 9. Transportation & Disposal

Do not transport batteries with conductive objects such as tools, jewelry, or metal parts.

Insulate terminals before disposal.

Recycle batteries according to local regulations.

## 10. Dealer / OEM Best Practices

Keep batteries at partial charge during warehouse storage.

Perform routine voltage inspection during long-term inventory storage.

Rotate inventory using FIFO method.

Record serial numbers and installation dates.

Ensure alternator and charging systems are lithium-compatible.

Verify cable sizing and terminal torque.

Perform final polarity inspection before system startup.

Conduct operational verification after installation.

This instruction manual is intended for OEMs, dealers, installers, and service technicians. For detailed chemical safety, hazardous material handling, and regulatory information, refer to the official SDS/MSDS documentation.