# KPower Warranty Claim Submission Guide

Complete Claims. Faster Resolution.
Submitting complete information helps KPower review warranty claims faster, reduces delays, and minimizes unnecessary returns.

## Before You Submit

Perform basic battery troubleshooting before submitting a warranty claim.

Submit your claim through the Dealer Portal – Technical Support Request Form.

Provide the required information below.

## Required Information

Invoice or Order Number

Photo of the battery showing the serial number

Clear Description of the Issue

Installation Photos (if requested)

Bluetooth screenshots showing:

Serial Number

State of Charge (SOC)

Voltage & Current

Warning or Fault Codes

Physical voltage test (required if Bluetooth is unavailable)

Upload all supporting photos, videos, and screenshots

## Avoid Delays

Please ensure your submission includes all required information, clear photos or test results, the correct serial number, and a detailed description of the issue.

## What Happens Next?

Once your submission is received, KPower will review your claim and provide troubleshooting, repair, replacement, or additional instructions, depending on the results of the technical review.

## Our Commitment

Most complete warranty claims are reviewed within three business days after all required information has been received.